## Cabinet 1
Sr. No. | Units | Checks to be done | Status of the unit from Front Side 15 NOV 2024 | Status of the unit from back Side 15 NOV 2024 | Status of the unit from Front Side 04 Apr 2025 | Status of the unit from back Side 04 APR 2025 | Status of the unit from Front Side 15 Apr 2025 | Status of the unit from back Side 15 APR 2025 | Status of the unit from Front Side 28 Apr 2025 | Status of the unit from back Side 28 APR 2025 | Status of the unit from Front Side 13 May 2025 | Status of the unit from back Side 13 May 2025 | Status of the unit from Front Side 23 May 2025 | Status of the unit from back Side 23 May 2025 | Status of the unit from Front Side 13 Jun 2025 | Status of the unit from back Side 13 Jun 2025 | Status of the unit from Front Side 4 Jul 2025 | Status of the unit from back Side 4 Jul 2025 | Status of the unit from Front Side 11 Jul 2025 | Status of the unit from back Side 11 Jul 2025 | Status of the unit from Front Side 25 Jul 2025 | Status of the unit from back Side 25 Jul 2025 | Status of the unit from Front Side 1 AUG 2025 | Status of the unit from back Side 1 Aug 2025 | Status of the unit from Front Side 12 AUG 2025 | Status of the unit from back Side 12 Aug 2025 | Status of the unit from Front Side 22 AUG 2025 | Status of the unit from back Side 22 Aug 2025 | Status of the unit from Front Side 29 AUG 2025 | Status of the unit from back Side 29 Aug 2025 | Status of the unit from Front Side 12 SEP 2025 | Status of the unit from back Side 12 SEP 2025 | Status of the unit from Front Side 19 SEP 2025 | Status of the unit from back Side 19 SEP 2025 | Status of the unit from Front Side 26 SEP 2025 | Status of the unit from back Side 26 SEP 2025 | Status of the unit from Front Side 2 Oct 2025 | Status of the unit from back Side 2 Oct 2025 | Status of the unit from Front Side 17 Oct 2025 | Status of the unit from back Side 17 Oct 2025 | Status of the unit from Front Side 31 Oct 2025 | Status of the unit from back Side 31 Oct 2025 | Status of the unit from Front Side 14 nov 2025 | Status of the unit from back Side 14 Nov 2025 | Status of the unit from Front Side 28 NOV 2025 | Status of the unit from back Side 28 Nov 2025 | Status of the unit from Front Side 8 DEC 2025 | Status of the unit from back Side 8 DEC 2025 | Status of the unit from Front Side 12 JAN 2026 | Status of the unit from back Side 12 JAN 2026 | Status of the unit from Front Side 26 JAN 2026 | Status of the unit from back Side 26 JAN 2026 | Status of the unit from Front Side 6 FEB 2026 | Status of the unit from back Side 6 FEB 2026
1 | PDU | Check if all Switches are ON | A1 switch off |  | A1 A2 switch off
2 | DIM 1B | Check if any Amber LED is glowing | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED
3 | DIM 1A | Check if any Amber LED is glowing | SWITCH OFF |  | SWITCH OFF |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED
4 | HSBU 1B | Check if any Amber LED is glowing | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED
5 | HSBU 1A | Check if any Amber LED is glowing | GREEN LED | red led | GREEN LED | red led | GREEN LED | red led | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
6 | FCS 1B | Check if any Amber LED is glowing | amber led togglling | GREEN LED | amber led togglling | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
7 | FCS 1A | Check if any Amber LED is glowing | amber led togglling | GREEN LED | amber led togglling | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
8 | OKVM MGR | Check if any Amber LED is glowing | amber led togglling | GREEN LED | amber led togglling | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
9 | LNX SDP HE 1B | Check if any Amber LED is glowing | amber led togglling | amber led | amber led togglling | amber led | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
10 | LNX SDP HE 1A | Check if any Amber LED is glowing | amber led togglling | amber led | amber led togglling | amber led | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
11 | NAS GW 1B | Check if any Amber LED is glowing | amber led togglling | amber led | amber led togglling | amber led | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
12 | NAS GW 1A | Check if any Amber LED is glowing | amber led togglling | amber led | amber led togglling | amber led | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
13 | PS 5200-1 | Check if any Amber LED is glowing | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
14 | PS 5035-1 | Check if any Amber LED is glowing | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
15 | LBA 1B | Check if any Amber LED is glowing | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED
16 | LBA 1A | Check if any Amber LED is glowing | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | red led | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED | Orange LED

## Cabinet 2
Sr. No. | Units | Checks to be done | Status of the unit from Front Side 15 NOV 2024 | Status of the unit from back Side 15 NOV 2024 | Status of the unit from Front Side 04 Apr 2025 | Status of the unit from back Side 04 APR 2025 | Status of the unit from Front Side 15 Apr 2025 | Status of the unit from back Side 15 APR 2025 | Status of the unit from Front Side 28 Apr 2025 | Status of the unit from back Side 28 APR 2025 | Status of the unit from Front Side 13 May 2025 | Status of the unit from back Side 13 May 2025 | Status of the unit from Front Side 23 May 2025 | Status of the unit from back Side 23 May 2025 | Status of the unit from Front Side 13 JUN 2025 | Status of the unit from back Side 13 JUN 2025 | Status of the unit from Front Side 4 JUL 2025 | Status of the unit from back Side 4 JUL 2025 | Status of the unit from Front Side 11 JUL 2025 | Status of the unit from back Side 11 JUL 2025 | Status of the unit from Front Side 25 JUL 2025 | Status of the unit from back Side 25 JUL 2025 | Status of the unit from Front Side 1 AUG 2025 | Status of the unit from back Side 1 Aug 2025 | Status of the unit from Front Side 12 AUG 2025 | Status of the unit from back Side 12 Aug 2025 | Status of the unit from Front Side 22 AUG 2025 | Status of the unit from back Side 22 Aug 2025 | Status of the unit from Front Side 29 AUG 2025 | Status of the unit from back Side 29 Aug 2025 | Status of the unit from Front Side 12 SEP 2025 | Status of the unit from back Side 12 SEP 2025 | Status of the unit from Front Side 19 SEP 2025 | Status of the unit from back Side 19 SEP 2025 | Status of the unit from Front Side 26 SEP 2025 | Status of the unit from back Side 26 SEP 2025 | Status of the unit from Front Side 2 Oct 2025 | Status of the unit from back Side 2 OCT 2025 | Status of the unit from Front Side 17 Oct 2025 | Status of the unit from back Side 17 OCT 2025 | Status of the unit from Front Side 31 Oct 2025 | Status of the unit from back Side 31 OCT 2025 | Status of the unit from Front Side 14 Nov 2025 | Status of the unit from back Side 14 Nov 2025 | Status of the unit from Front Side 28 Nov 2025 | Status of the unit from back Side 28 Nov 2025 | Status of the unit from Front Side 8 DEC 2025 | Status of the unit from back Side 8 DEC 2025 | Status of the unit from Front Side 12 JAN 2026 | Status of the unit from back Side 12 JAN 2026 | Status of the unit from Front Side 26 JAN 2026 | Status of the unit from back Side 26 JAN 2026 | Status of the unit from Front Side 6 FEB 2026 | Status of the unit from back Side 6 FEB 2026
1 | PDU | Check if all Switches are ON | A1 switch off |  | A1 A2 switch off
2 | DIM 1B | Check if any Amber LED is glowing | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED
3 | DIM 1A | Check if any Amber LED is glowing | SWITCH OFF |  | SWITCH OFF |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED |  | GREEN LED
4 | UPMDB 1B | Check if any Amber LED is glowing | amber led togglling | amber led togglling | amber led togglling | amber led togglling | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
5 | UPMDB 1A | Check if any Amber LED is glowing | amber led togglling | amber led togglling | amber led togglling | amber led togglling | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
6 | IT OEL FU DB 1B | Check if any Amber LED is glowing | amber led togglling | amber led togglling | amber led togglling | amber led togglling | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
7 | IT OEL FU DB 1A | Check if any Amber LED is glowing | amber led togglling | amber led togglling | amber led togglling | amber led togglling | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
8 | FS 5200-2 | Check if any Amber LED is glowing | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
9 | C1 LCS ESX 5 | Check if any Amber LED is glowing | amber led togglling | amber led togglling | amber led togglling | amber led togglling | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
10 | C1 LCS ESX 4 | Check if any Amber LED is glowing | amber led togglling | amber led togglling | amber led togglling | amber led togglling | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
11 | C1 LCS ESX 3 | Check if any Amber LED is glowing | amber led togglling | amber led togglling | amber led togglling | amber led togglling | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
12 | C1 LCS ESX 2 | Check if any Amber LED is glowing | amber led togglling | amber led togglling | amber led togglling | amber led togglling | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
13 | C1 LCS ESX 1 | Check if any Amber LED is glowing | amber led togglling | amber led togglling | amber led togglling | amber led togglling | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED | GREEN LED
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32